	SHEDULE OF QUANTITIES 

FOR

CIVIL AND SANITARY   WORKS

OF PROPOSED BUILDING
OF

HALL OF RESIDENCE - 03

NATIONAL INSTITUTE OF TECHNOLOGY

AT

ROURKELA

ORISSA

                                                                                CONSULTANT :-





                                                                         M/S. DESIGN TECHNO






 KOUSTUV TOWER , 2ND FLOOR,



BIKASH NAGAR, BADAMBADI,


             CUTTACK - 753012










 CUTTACK,

                                                                                 ORRISA




ABSTRACT COST
(  FOR CIVIL & SANITARY WORKS)

                                                                                                                                                                               1)

CIVIL WORKS

Rs

 2)

SANITARY WORKS

Rs.

TOTAL

Rs.



	CIVIL WORK

Sl. NO

DESCRIPTION

AMOUNT Rs.

1

SECTION:I

EARTHWORK IN EXCAVATION

2

SECTION:II

PLAIN/REINFORCED CEMENT CONCRETE WORK

3

SECTION:III

BRICK WORK

4

SECTION:IV

WOOD WORK

5

SECTION-V

STEEL WORK

6

SECTION-VI

FLOORING

7

SECTION-VII

PLASTERING

8

SECTION-VIII

ALUMINUM WORK

9

SECTION-IX

FINISHING WORK

10

SECTION-X

ROOFING

11

SECTION-XI

WATER PROOFING TREATMENT

12

SECTION-XII

MISCELLANEOUSITEMS 

TOTAL

SECTION - I

EARTH WORK EXCAVATION

Sl .No

DESCRIPTION

UNIT

QUANTITY

RATE 

Rs.

AMOUNT Rs.

1

Clearing site including removal of grass, bush and saplings of girth upto 3cm. measured at height of 1m. Above ground level and remove of rubbish up to distance of 50m. out side the area cleared
Sqm

3500

2

Earth   work   in   excavation  in foundation trenches or drains(not exceeding 10sqm.on  plan) dressing    of    sides   and    ramming  of  bottoms, lift  up to  1.5 m  including getting out  the  excavated  soil &  disposal  of  surplus excavated soil as directed, within lead of 50m

i)

All kind of soil.

cum

837

ii)

Hard Rock (without blasting)stack measurement will be followed

cum

558

3

i)

Extra over excavating earth exceeding depth 1.50 m but hot exceeding 3.0 m.

Cum

12

ii)

Extra    over   excavating  earth   in   hard rock exceeding 1.5m depth upto  3.0m depth.(Rate is   over   corresponding  basic  item  for  depth upto 1.5m)

cum

12

4

Filling available excavated earth (excluding 

rock)  in trenches, plinth, sides of foundations

etc. in layers not exceeding  15 cm. in depth with watering, Lead  upto  50 m  and  lift  upto 1.5 m (Payment to  be made on measurement  of finished quantity).

cum

922

5

Filling in plinth by fine sand  in layers not exceeding 150mm.and up to 750mm.as directed & consolidating same by thorough saturation with water ramming complete including the cost of supply of sand(Payment to be made on measurement of finished quantity

cum

817

6

 Supplying chemical emulsion in sealed containers  including delivering as diluting and injecting chemical emulsion for post constructional anti-termite treatment  and creating a continuous  chemical  barrier at junction of wall and floor, along the external perimeter of building, expansion joints over the top surface of consolidated earth on which apron is to be laid, surroundings of pipes and conduits etc complete (plinth area of the 

Sl.No

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

building at ground floor(approx 521sqm) using Chlorpyriphos / Biflex emulsifiable concentrate   20% diluted to 1% concentration. The entire  work  is to be carried out  as  per  specification  laid down in relevant IS code of  latest edition.
Sqm

521

7

Supplying  chemical  emulsion in sealed Containers including delivering diluting   and   injecting  chemical  emulsion  for pre construction   anti-termite   treatment  and creating   a continuous  chemical  barrier and  all  round  the  column  pits, wall trenches, under basement   excavation,   top   surface  of  plinth filling,  junction of wall  & floor, along  the external  perimeter of building, expansion joints, over  the  top  surface  of  consolidated earth on  which  apron is  to be laid, surroundings of   pipes   and   conduits   etc.  complete  (plinth        area     of     the     building   at  ground floor  (approx 2397 sqm) Chlorpyriphos /   Biflex emulsifiable concentrate   20% diluted  to with 1% Concentration. The entire work  is to be carried out  as  per  specification  laid down in relevant.

Sqm

2397

Total carried to summary  Rs. 

SECTION - II
PLAIN /REINFORCED CEMENT CONCRETE WORK

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

1

Providing    and   laying   in   position   cement 
concrete of specified grade excluding the  cost
of  centering  and  shuttering  -  All  work upto 
Plinth level.
a

1:2:4  (1  cement  :  2 coarse sand  :  4 graded stone aggregate 12mm nominal size)

cum

25

b

1:4:8(1 cement:4coarse sand :8graded stone aggregate 40 mm nominal size)

cum

373

2

Providing and laying damp proof course 40mm thick with cement concrete 1:2:4(1 cement : 2 coarse sand : 4 graded stone aggregate 12.5mm nominal size)
Sqm

355

3

Extra  for  providing and mixing water proofing material   in   cement  concrete  work   in   the proportion recommended by the manufacturers(Sika latex power).
Sqm

355

4

Providing  and laying in position  specified grade of  reinforced cement concrete in foundation, footing,   bases   of   columns,   tie   beam  etc excluding   the   cost   of   centering, shuttering finishing   and  reinforcement  - All work upto plinth level
a

1:1.5:3(1 cement :1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size)

cum

373

5

Reinforced cement concrete work in beams suspended floors, roofs having slope upto 15 degree, landing ,balconies, shelves ,chajjas lintels, bands, plain window sills, staircases and spiral staircases upto floor five level excluding the cost of centering, shuttering,  finishing and reinforcement with 1:1.5 :3 (1 cement1.5  coarse sand: 3 graded stone aggregate20 mm nominal size)

cum

1128

6

Reinforced  cement  concrete  work  1:1.5:3( 1 cement  : 1.5  coarse sand  : 3 graded stone aggregate  20  mm nominal size )  in walls (any thickness)     including     attached     pilasters buttresses,  plinth  and  string  courses,  fillets, columns   pillars,    piers,  abutments, posts and struts, etc. upto floor five level  excluding  cost of centering, shuttering, finishing and reinforcement( Column ).
cum

313

Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

7

Precast  reinforced cement concrete in shelves including setting in cement mortar 1:3(1cement : 3coarse sand) cost of required centering, shuttering & finishing  with neat cement  punning on exposed surfaces(excluding the cost of  reinforcement) with 1:2:4(1cement  : 2 coarse sand :4 graded stone aggregate 12.5mm nominal size).50mm thick before finishing   
Sqm

2580

8

Providing  &  laying   cement   concrete   1:2:4 (1 cement : 2coarse sand : 4 graded stone chips  20mm  nominal size) at all levels  to window  sills, couping etc. including  cost of centering and shuttering etc complete
cum

21

9

Providing and fixing centering and   shuttering including  strutting, propping etc   including providing and  laying  waterproof  paper to make watertight  shuttering &  removal of form etc on completion of work in foundation, column shaft tie beam, etc. upto  plinth level (only the area in   contact   with   concrete   to  be  measured) 9 to 12 mm. thick  approved  quality  ply board shuttering in any concrete work
Sqm

3220

10

Providing  &  fixing  centering  & shuttering including  strutting, propping  etc, providing & laying  water  proof  paper  to make watertight shuttering & removal  of  form  for concrete work at all levels above plinth. (only the  area in contact with concrete  to be   measured)  9 to 12mm. thick  approved  quality ply  board shuttering in any concrete work.
Sqm

15265

11

Extra for shuttering for additional height over4m upto 5.5mtr
Sqm

35

12

Reinforcement (grade Fe 415 / 500) for R.C.C  work including straightening, cutting, bending position and binding all complete( Binding wires cost included )
i

T.M.T. bars ( Grade Fe 415 / 500 )
Mt

202.00

ii

Mild steel (Grade Fe 415)

Mt

7.00

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

13

Providing and fixing M.S.  Insert plate, angle etc.  Of approved   thickness   and   size, fixed to R.C.C.  Slab, beam, column etc. including M.S.   Lugs, necessary   welding   etc.  as   per drawing   with  two  coats  of  synthetic  enamel paint  of approved  shade  and brand over a coat of  zinc  chromate primer  to  exposed surfaces all complete  as  per  direction  (weight to  be  calculated  as  per and standard   tables no   extra   for   weight  of welding  material  and rolling margin shall be paid for.)

Kg

70.00

Total carried to summary        Rs.

SECTION – III

BICK WORK
 Sl. No

DESCRIPTION

UNIT

QUANTIY

RATE

 Rs.

AMOUNT Rs.

1

Brick work with bricks of class designation75   in foundation and plinth in cement mortar 1:6 (1 cement: 6 coarse sand).  
Cum

284 

2

Brick  work (1:6)  in   superstructure above plinth level  up  to floor IV level

cum

3074

3

Half Brick masonry with class designation75  in superstructure above plinth level upto floor V level cement mortar 1:4 (1 cement:4 coarse sand), including supplying and laying two 6 mm ms steel bar in every three layers in  all  floors and heights as per drawing and specification complete.(Reinforcement  cost to be included.)
Sqm

2137

4

Providing & laying single brick flat soling with     bricks with class designation50,including  preparing  the sub grade to proper level including ramming dressing, & filling joints with locally available sand complete in all respects
Sqm

5   

5

Extra over   item  No. 1  above  for  forming circular hole in wall  for  fixing  exhaust fans  including cement plaster 1:4 to inner faces        (approximately 300mm dia  to 375mm. dia) at all level and heights

Each

76

6-

a)

Providing and  laying 75mm  thick  brick work with  brick of strength not less than 75 kg / Sqcm laid in cement mortar 1:3(1 cement: 3 coarse sand)  in  plain or curved wall etc complete  in  all respects including laying 1 no's  6 mm  bar  at  every alternate layers in all  floors  and  heights  as  per  drawing  and specification complete

Sqm

150

b)

Extra for 6 mm. steel.
Sqm

150

Total carried to summary    Rs.

SECTION - IV
WOODWORK

 Sl.NO

DESCRIPTION

UNIT

QUANTY

RATE

 Rs.

AMOUT             

Rs.

1

Providing  &  fixing  pressed cold steel door frame  made  with 1.25mm thick CR Steel plate   bend    to   shape    as  per  drawing fixed  to  wall  with  M.S . Holdfast welded to frame,   all   complete    including     making good the wall & floor as per direction engineer in    charge.  Cost   of    hold   fast&     cost     of     concrete to be paid separately.  Frame shall be coated with a coat of Coaltar paint & to be filled with cement concrete (1:2:4) mix.
RM

1457

2

Providing klin seasoned & chemically treated sal  wood  work  in  frames  of  doors  and fixing in position including two coats of wood preservative   applied   to   rear   of  frame  in contact  with  masonry  &  concrete  surface IS 12896 :1990)

cum

13.5

3

Providing and fixing 35 mm thick  flush door shutter  with ISI marked non decorative type with   solid   block   board  construction  with frame   of   first  class  hard  wood  and  well matched, commercial veneering on both faces   of   shutter   finished   as   per grains and cross bands on  face veneers bonded  with   phenol   formaldehyde synthetic   resin   on  both  faces  of  shutter finished   as  per   specifications  mentioned (Drawing)  with  teak  wood  lipping out of 6 mm thick. (Excluding the cost of fittings.) 
Sqm

427

4

Providing and fixing panelled  or panelled and glazed shutterers for doors, windows and  clear storey windows including  black enameled M.S. butt hinges with  necessary screws including,  paneling  which will be paid   for separately  kiln seasoned   and chemically    treated  second class hard( kasi ,tentra  piasal ) wood  38  mm  the shutter frame
sqm

185

5

Providing and fixing wooden paneling for  doors windows and clerestory windows       (Area of opening for panel inserts excluding portion inside grooves or rebates to be   measured).Paneling for paneled  shutters   25mm  thick ,kiln seasoned chemically treated second  class hard ( kasi  tentra , piasal )  wood 

Sqm

5

6

Providing   and   fixing   wooden   moulded beading  to  door  and  window  frames with iron  screws,  plugs   and   priming  coat  on unexposed surface etc. complete.

a

second class teak wood 50x20 mm

Meter

1700

 Sl.NO

DESCRIPTION

UNIT

QUANTY

RATE Rs.

AMOUT Rs.

7

Providing 40x3 mm flat iron hold fast 25 cm including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embeddings in cement concrete block 30x10x15 cm 1:2: 4mix(1 cement: 2 coarse sand:4 graded stone aggregate 20mm nominal size) 

Each

1728

8

Providing and fixing  bright finished MS butt hinges  with   necessary   screws etc Complete 125 x 65 x 2.12 mm ( ordinary type) welded to door frame where required

Each

1213

9

Providing and  fixing 50 mm  bright finished stainless steel cup  board or  ward  robe knob with necessary screws ( best make of approved quality)

Each

376

10

Providing and fixing stainless steel handles 150 mm x10 mm conforming to IS: 4992 with necessary screws. Etc complete.

Each

713

11

Providing and fixing 75mm special quality bright finished stainless steel cupboard or wardrobe locks with four levers including necessary screws etc. complete (best make of approved quality.)

Each

472

12

Providing and fixing bright finished stainless steel hanging type floor double door stopper with necessary screws etc. Complete

Each

259

13

Providing and fixing bright finished Brass hydraulic door closer (Best  make  of approved   quality) with  necessary accessories and screws etc.Complete
Each

5

14

Providing  and  fixing  stainless  steel tower bolt with necessary screws etc. complete

a

150 x 10 mm

Each

95

b

200 x 10 mm

Each

384

15

Providing and fixing bright finished stainless steel 100mm Mortise latch and lock with six  levers  and a pair of anodised (anodic coating) not less than grade AC10  as per IS : 1868  aluminum  lever handles with necessary screws etc complete ( Best make of approved quality)

Each

5

16

40mm dia. Rubber buffer fixed to wall with m.s. Screws

Each

194

17

Providing and fixing Godrej make door bolt having integrated locking arrangements( Kaadi Tala)with nuts and  screws etc complete 250x 12mm

Each

289

18

Providing and fixing m.s. Curtain hooks with coiled  wire  with  end  loops  over wooden in walls to be fixed over window and cupboard

Each

410

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

19

Providing and fixing curtain rod 20 mm dia of  1.25  mm thick made of chromium plated stainless  steel  plate  with wooden brackets fixed  to  the wall with stainless  steel screw all complete

Meters

30

20

Providing & fixing 30mm moulded P.V.C. / fiber door with solid second class seasoned&  chemically treated hard wood core having arrangement for fixing  required  fixtures Top moulding layer  should  be  minimum 2mm. thick  hot  pressed over the core. Design, shade & quality(Dura sleek or equivalent make)   should be approved Architect

Sqm

156

21

Providing & fixing 4.0mm clear glass in wooden   Windows and Ventilators as per  drawing and design  complete  to  satisfaction of Engineer - in - Charge / Architects Rate  include  cost  of glass, glass fixing putty , nails etc

Sqm

20

Total carried to summary         Rs.

SECTION - V
STEEL-WORK

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

1

Providing and fixing ISI Marked steel glazed doors, Windows and ventilators of standard rolled steel section joints mitred and welded with 15x3mm lugs, 10 cm.  Long,  embedded in cement concrete  blocks  15 x 10 x 10 cm Of 1:3:6 (1cement : 3 coarse sand :  6 graded aggregate20mm nominal size)or with wooden plugs and screws or  rawl plug and screws or with  fixing  clips  or  with  bolts and nuts as required, including providing and fixing of 4mm thick glass panes plain/pin headed with glazing clips & special metal sash putty of approved make  complete ,  including  two  point  nose handle   of  approved   pattern  with  applying priming coat of approved steel primer, and also including    oxidized   m.s   casement   stays straight peg type) with necessary screws etc(300mm weighing not less than 200 gms.)all complete as per direction of engineer in charge Windows- side hung
Sqm

767

2

Providing and fixing   M.S. grills of required pattern in frames of windows etc. with M.S flats, square or round bars etc. all complete.

a

Fixed to wall and sill.

kg

67379

3

Providing and fixing M.S. railing of required pattern with flats, square or round bars etc.

along with floor shoe all complete.

kg

431

4

Providing and fixing M.S. hand rail made with

50 dia  M.S. pipe fixed to M.S. balustrade by 

means  necessary welding, including 100 mm

length (exposed)  post & base plate including 

two  coats  of synthetic enamel paint  Luxol /

Dulux  of  approved  shade over a coat of zinc 

chromate primer to M.S.hand rail at all height

&   level   all   complete   as  in  drawing  and 

direction engineer-in-charge

Metre

302

5

 Providing & fixing in position collapsible steel shutters  with  vertical channels 20x10x2mm and braced with flat iron diagonals 20 x 5 mm size with top and bottom rail of T-iron 40 x 40 x 6mm with 40mm dia. Steel pulleys complete with bolts, nuts locking arrangement, stoppers handles, including applying  a  priming coat of approved steel primer

Sqm

5

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

6

Providing & fixing openable and foldable grill gates / shutter  for   entrances  made of flats square  or  round  with  m.s.  handle,  locking system (sliding bolt and floor bolt), necessary screws and hinges. Fixed to walls by  welding with 15x3mm lugs, 10cms of 1:3:6(1 cement3  coarse sand : 6  graded  stone  aggregate20 mm  nominal size), necessary nuts & m.s. parliament    hinge   or   pivots   as   required complete  including   applying priming coat of approved steel primer

kg

600

Total carried to summary          Rs.

SECTION - VI
FLOORING 

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE 

Rs.

AMOUNT Rs.

1

cement concrete flooring 1:2:4 (1 cement2  coarse  sand  : 4  graded stone aggregate ) finished   with a  floating  coat of neat cement including , cement slurry,  but  excluding  the cost of nosing  of  steps  etc. complete 40mm thick    with   20   mm   nominal   size   stone aggregate.
Sqm

2402

2

Cement plaster skirting (up to 30 cm height) with  cement  mortar 1:3 (1 cement: 3 coarse sand ) finished  with  a  floating  coat of  neat cement 18 mm thick  

Sqm

358

3

Providing  &  laying ceramic   tiles   (Kajaria or     equivalent  make) conforming  to IS : 13755     and of approved design approx 300x300x 8mm   size   to floor  at  all  level  over minimum 20mm thick cement mortar base1:4(1 cement : 4sand) laid with grey cement slurry & joints  finished with approved grouting material( Sika/Laticrete)
Sqm

437

4

Providing  and  fixing  glazed  ceramic  tiles (kajaria or equivalent make) conforming   to IS 13753 and  of  approved  design / shade  approx  200  mm x 300 mm x  5.5mm With75mm.x 200 mm. x 5.5 mm decorative border to skirting     and dado with tiles fixing adhesive of  approved make including  cost  thereof and providing and  laying minimum 10 mm thick cement plaster  1:3 (1 cement : 3 sand ) as leveling course  and  jointed  with  white cement slurry including racking out joints in brick wall close, & deep    chipping of  concrete surfaces .
Sqm

1430

5  a)

Kota   stone   slab   flooring   over   20 mm thick C.M. 1:4 ( 1 Cement : 4 Coarse sand ) (average)    base  and    jointed    with    grey cement  slurry  mixed  with pigment to match the  including  rubbing and polishing complete20 mm minimum  thick. ( 550 mm x 550 mm)

Sqm

3065

b)

Kotta stone in skirting/dado over 12mm C.M.(1:3)
Sqm

342

6

Kota stone slabs 20mm thick in risers  of steps , treads on 20mm (average)  thick    cement mortar 1: 31cement : 3coarse sand )  and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing & polishing complete(Single piece of size1800mm x 300mm and 1800 mm x150mm.  

Sqm

149

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

7

Providing  and  fixing  40 mm wide and 4 mm thick  plain  glass  strips  in joints of flooring with   cement   mortar   1:3   complete  in  all respects as per drawing

Mtr

3000.00

8

Providing & laying minim. 16 to 18mm thick plain white marble strip border of approved design  &  quality  laid in conjunction with kota stone  flooring over a bed of 20mm( minim. ) thick sand cement  mortar 1:4 (1 cement: 4coarse sand) including pointing  with white cement  mortar 1:2(1cement : 2marble dust), rubbing  & polishing  complete as per pattern shown in drawings and direction all complete in all respects. .Approx 50mm to 100mm wide border

a)

Rajnagar white plain marble

Sqm

200

b)

Udayapur Green marble

Sqm

120

9

Providing & fixing joint less vitrified porcelain    tile 10mm thick Naveen / Kajaria  or  equivalent  make of approved shade &    brand to floor  with   cement slurry  over  a  bed  of  minimum 12mm thick1:4  ( 1cement : 4coarse sand)sand cement mortar including necessary 1:2:4(1cement 2coarse sand:4  graded  stone aggregate12mm nominal size) cement concrete backing for adjustment floor level, finishing joints with white cement mixed with  pigment  to  match  the shade of tiles all complete  in  all  respect  as  per drawing and direction ( Mirror polish )size 600 x 600 mm

Sqm

40

10

Providing & fixing 10mm thick vitrified porcelain tile Naveen / kajaria or equivalent make of approved shade to wall with cement slurry over a bed of minimum 12 mm thick  1:3 ( 1cement : 3 coarse sand ) sand cement mortar including finishing the joints with white cement  mixed  with  pigment  to match the shade of tiles all complete in all respect as per drawings and direction( Mirror Polish )size 600 x 600 mm( approx. )

Sqm

10

Total carried to summary          Rs.

SECTION - VII
PLASTERING 

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

1

Providing  &  laying  cement plaster to interior surfaces  of  walls columns and beams along walls   with   sand  cement  mortar  complete  in all  respects  as  required  for  completion  of the work  in  all  floors.  cement   plaster 1 : 6 with cement mortar ( 1 cement : 6 sand
a) 

16 - mm thick plaster for out side 

Sqm

10731

b)

 12 - mm thick plaster for inside

Sqm

18271

2

Providing minimum 6 mm thick cement plaster( 1:4) to ceiling beams, soffit of  stair case,  chajja projection   and  isolated  column projected  beams  etc in all  floors complete as directed  but  excluding the cost  of forming drip course which will be paid under separate item

Sqm

862

3

Providing and forming drip course of 30 mm wide x 12 mm.  Projection  in  plaster  to  soffit of   projected  slab  like  chajja  etc. in  all  floors  at   edges   with  cement  mortar 1 : 3  complete as directed for completion of work .

Meter

542.93

4

Providing & mixing water proofing compound sika   plastocrete   or   similar   approved quality to the cement plaster work as per manufacturers Specification.
Ltr

1305

5

Providing  and   laying   white   cement    based wall   putty  thickness    over    a plastered  surface  to  prepare the surface even and smooth complete (Birla, JK, Sika)  

Sqm

10837

Total carried to summary          Rs.

SECTION - VIII
ALUMINIUM WORK 

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

1

Providing and fixing anodized aluminum windows, ventilators  of  bronze  or approved colour and 15 micron thickness ( mat satin finish ) and of extruded sections of 34 series conforming to  IS : 733 and IS : 1285, anodised transparent or dyed to IS : 1868( Minimum  anodic coating of grade  AC15)  fixed  with  rawl  plugs and  screws etc. at all levels including the cost of  coupling  members  between windows and necessary fittings viz.  Aluminum handles friction hinges etc .including providing and fixing5mm. thick clear /obscured float glass  panes gaskets, glazing beads and  sealing  joints all-round on both  faces  between  work /  lintel and windows with silicon sealants of  approved make provision  for  fixing  glass  panes from inside and EDPM / Neoprine  weather seats etc all as per drawing at all levels and heights
i)

Fixed (Overall portion treated as fixed.)

Sqm

10

ii)

Extra over above for ( extra rate admissible for the openable portion only ) : side hung shutters

Sqm

10

2

Providing and fixing twin style door complete with  fixed  glazed  portion  manufactured  from Bronze  or  any other approved colour anodised( 15 micron  thickness )   extruded   aluminum alloy section complete  with  5 mm  thick clear  float glass for fixed portions,  Neoprene dry set glazing gasket , snap in beveled metal glazing stops  on  both sides,  top  and  bottom styles of extruded aluminum alloy sections of special design  for  twin  style  door, 12 mm thick plate glass for d doors,  necessary  hardware  fixtures viz.  double  action  floor  spring , mortice lock flush    bolt,   chromium   plated  brass  tubular handle   as   per    drawing  on  both  faces  all complete at all levels and heights

i)

 Fixed portion

Sqm

20

ii)

Openable portion

Sqm

20

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

3

Providing   &   fixing   structural   glazing   with openings using aluminum section  75  mm x50 mm powder coated   ( 15 micron thick )   of OEL or equivalent make fixed to walls / R.C.C. slab using 125 mm long HILTI / FISHER screws5 mm glazing glass ( Ocean blue colors)  fixed to frame work with adhesive tape & sealed with silicon as per drawing & designing, friction stay of heavy quality ( Ebco or equivalent make ) to be used for openings .   The   entire work to be tested  for   water  tightness   as   directed   by Engineer-in-Charge / Architect

Sqm

90

Total carried to summary          Rs.

SECTION - IX
FINISHING 

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

1

White washing  with lime to give an even shade Old / New work ( two coats ) mixed with approved adhesive  complete   to     the     satisfaction     of engineer-in-charge
Sqm

45303

2

Distempering  with  1st  quality acrylic  washable distemper (ready made of approved manufacturer and  of  required  shade  and  colour  complete as per manufacturer's specification. Two coats on old / new work all complete up to the satisfaction of engineer-in-charge

Sqm

6850

3

Applying one coat of cement primer of approved and manufacture on wall surface

Sqm

12150

4

Finishing walls with water proofing cement paint of  approved  brand & manufacture and of  required make to give an even shade new  work (three coats) @ Rs.3.84 Kg /10 Sqm( snowcem plus or equivalent complete up to the  satisfaction  of  Engineer-in-charge

Sqm

50

5

Applying priming coat with  ready  mixed  zinc  chromate  yellow primer of proved brand and manufacture on steel galvanised on / steel works

Sqm

1850

6

with ready mixed pink or grey primer of approved and   manufacture  on  wood  work  (hard and soft wood)

Sqm

1100

7

Painting   with   ready  mixed   synthetic enamel paint of  approved brand  and  manufacture  in all shades to give an even shade.  All  complete up to the satisfaction of engineer in charge

a)

steel work(two coats)

Sqm

1850

b)

wood work(two coats)

Sqm

1100

8

Providing   and   applying   two coats of exterior acrylic.  Emulsion  paint  'weather shield'  of  ICI India  Ltd. or equivalent  of  approved  shade  over a coat of primer of same material I.E 2:I (2 paint1 water) by volume at all levels including sand papering, cleaning and preparation of surface.

Sqm

11053

9

Painting(two coats)  synthetic  enamel paint  of approved     brand  &  of  required  shade   on rain water,  soil  waste  and  pipes  and  fittings with a coat  of  zinc. Chromate  yellow   primer   to  new work     as   per   direction   and  satisfaction    of Engineer-in-charge.

i

100mm dia.(external)

Mtr

275

ii

150mm dia (external)

Mtr

25

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

10

Providing  and applying  Acrylic  emulsion paint( two coats complete to satisfaction of engineer in-charge)  of  approved  brand  and  manufacturer over   a  coat   of   primer   as   required   to   wall ceiling etc. all  complete  in  all floors and heights complete

Sqm

100

Total carried to summary   Rs.

SECTION - X
            ROOFING 

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

1

supply  fitting, fixing cast iron down pipes of approved  quality  in  position  with  necessary clamps,  nails  including  making  hole in wall floor  etc.  and  cutting  trenches  in  any  soil through masonry concrete structure  etc. if  necessary &  mending  good damages    including    jointing   with   jointing materials . complete100 mm dia.(external)
Mtr.

275

2

Supplying  fitting,  fixing C.I. Specials of down pipes  in  position  with  clamps nails etc. with jointing  materials  including  cutting  holes  in masonry or concrete, mending good damages complete.

a)

C.I. Bend of down pipes100 mm dia (external)

Each

28

      b)

C.I. shoe of down pipes100 mm dia(external)

Each

28

Total carried to summary         Rs.

SECTION - XI
WATER PROOFING

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

1

Applying & grouting a slurry of cement using2.75 kg/Sqm of cement admixed with proprietary water proofing compound sika latex or equivalent confirming to relevant I.S. mixed as per manufacturers specification over  the  RCC  slab  including  the cleaning the surface before treatments
Sqm

515

2

Applying and laying screed concrete on the top  of  the  roof  in  1:2:4  ( 1 cement : 2 sand: 4       stone chips12.5 mm. down) water proofing admixture SIKALATEX or equivalent confirming to relevant I.S. mixed as per             manufacturers specification with  slope  of  1  in 100  and  necessary haul ring as per direction of engineer-in-charge. Average thickness50 mm

Sqm

515

3

Filling the expansion  joint  with  SIKAFLEX as    one   component  PU  sealant including a  backup  material  like Thermo Cole inside  the  groove  of  expansion   joints.    The width to   depth ratio of sealant should be 2:1. For 50mm. Gap

RM

20

4

Water  proofing  treatment  to  toilet slabs  with elastic  two  pack  acrylic  polymer based water proofing system with glass fibre as intermediate member  by  using  approved  brand  to existing surfaces   etc.    (Work should be carried out through specialised agency.)

sqm

249

5

Water proofing treatment:- Providing & laying integral cement based water proofing treatment including preparation of surface  as  required for treatment of roofs, balconies terraces etc consisting the following operation

a)

Applying & grouting a slurry of cement using2.75 kg/Sqm of cement admixed with proprietary water proofing compound sika latex or equivalent confirming to relevant I.S. mixed as per manufacturers specification over  the  RCC  slab  including  the cleaning the
b)

Laying cement concrete using  broken bricks / brick  bats  25 mm to 100 mm size with 50% cement motor  1:5  (1 cement, 5 course sand ) admixed with proprietary water proofing compo und conforming to IS  :   2645 to required slope and treating similarly  junction of walls up to 300mm height  including rounding the junctions of walls and slabs 

c)

After two days of proper curing applying the second coat of cement slurry admixed with proprietary water proofing compound  conforming to propriety I.S 2645

Sqm

3155

d)

Finishing  the  surface with 20 mm  thick joint less  cement  mortar  of  mix 1:4 water proofing compound confirming  to I.S 2645 and finally finishing  the  surface with  broken ceramic tiles close  jointed  in  cement mortar (1:4) pointed with cement slurry and finished with proper slope etc

e)

The whole terrace so finished shall be flooded with water for an minimum period of two weeks for curing and for final test. All above operation to be donein order and as directed and specified by the engineer in charge. With avg. thickness of 120mm and minimum thickness at khurra as65mm(Work should be carried out    through specialised agency.) water proof   chemical to be   used must be SIKA LATEX OR SIKA  Rain tight

Total carried to summary          Rs.

SECTION - XII
MISCELLANEOUS WORK 

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

1

Providing all material  and labour for  average125mm  thick plinth protection made out fo with  25mm thick  1:2:4 cement  concrete on top  of  100 mm thick P.C.C. 1:4:8 laid in proper slope and compaction after dressing the surface &  ramming  the earth width around the building perimeter , complete  as  per  direction  of Engineer in Charge / Architect  
Sqm

532

2

Lettering   with   Black Japan paint of approved brand and manufacture 2 cm letter

per letter

per cm height

1802

Total carried to summary        Rs.

SANITARY AND PLUMBING WORK

Sl. NO

DESCRIPTION

AMOUNT Rs.

1

SECTION-I

SANITARY & PLUMBING WORK
2

SECTION:II

WATER SUPPLY

3

SECTION:III

DRAINAGE

TOTAL 

SECTION - I
SANITARY & PLUMBING WORKS 
Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

1

Providing  and  fixing  water closet squatting pan(Indian type  W.C. pan) with 100 mm  sand cast iron  P or  S  trap, 10 liter low  level  white P.V.C flushing  cistern  with manually controlled device(handle  lever)     conforming    to    IS   :   7231 Parry ware /   Hind ware  /Seabird / Orient (Coral) with  all  fittings and  fixtures complete including cutting   and  making  good  the walls and floors whenever required
i)

White Vitreous china Long pan pattern W.C pan of size 580 mm...

Each.

39

2

Providing    and    fixing    white   vitreous  china pedestal type water closet (European type W.C pan )  with  seat and lid,  10 liter  low level white P.V.C. flushing cistern with manually  controlled device  (handle lever), conforming  to IS  : 7231 Parry ware/Hind ware/Sea bird /Orient  (Coral) with all   fittings   and   fixtures   complete   including cutting  and   making  good the walls  and floors wherever required

i)

W.C.    Pan   with   ISI    marked   black  solid plastic seat and lid

Each.

6

3

Providing and fixing white vitreous china wash basin of approved make with C.I. /M.S. brackets15 mm C.P. brass basin mixture. 32 mm C.P brass   waste   of  standard  pattern,   including painting  of  fittings  and  brackets,  cutting  and making  good  the  walls  wherever  required

i)

Flat back wash basin size 550x400 mm with single 15 mm C.P. brass basin mixture.

Each.

22

4

Providing and fixing Salem stainless steel AN ISI304 (18/8) kitchen sink as per   IS  13983 with C.I.  brackets  and  stainless  steel plug 40mm including   painting   of  fitting   and     brackets cutting  and  making  good  the  walls wherever required

i)

Kitchen sinks without drain board.

 a)   610 x510 mm bowl depth 200 mm

Each.

2

5

Providing and fixing 600 x450 x 6 mm beveled edge   mirror of   superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with CAP. brass screws and washers complete

Each.

62

6

Providing   and   fixing   300  x 300 mm, 18mm thick  polished  marble shelf as per drawing with edges rounded off and fixed to the  wall finishing all complete

Each.

62

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

7

Providing and fixing C.P brass Robe hook (heavy type) with C.P.  brass  screws fixed to  wooden door/brick wall all complete

Nos.

400

8

Providing and fixing   C.P.  towel rail  complete  with brackets fixed to wooden  cleats  with  C.P brass screws

i)

600 x 20 mm size.

Each.

45

ii)

Towel ring 150 mm. dia 

Each.

85

9

Providing and fixing toilet paper holder.

i)

C.P. brass.

Each.

2

10

Providing and fixing soil, waste and vent pipes.

i)

110 mm. dia. Sand cast iron S&S pipe.

Meters.

350

ii)

75 mm. dia. Sand cast iron S&S pipe.

Meters.

80

11

Providing  and  fixing  bend  of  required degree with access door, insertion rubber washer 3mm thick, bolts and nuts complete

i)

110 mm. dia. Sand cast iron S&S

Each.

6

ii)

75 mm. dia Sand cast iron S&S...

Each.

2

12

Providing and   fixing   plain   bend of required degree.

i)

110 mm. dia. Sand cast iron S&S

Each.

22

ii)

75 mm. dia. Sand cast iron S&S

Each.

4

13

Providing and  fixing  single equal plain junction of  required degree  with  access door, insertion rubber  washer  3mm  thick,  bolts  and  nuts complete

i)

110 x 110 x 110  mm. dia. Sand cast iron S&S

Each.

85

ii)

75 x 75 x 75  mm. dia sand cast iron S&S.

Each.

5

14

Providing and fixing terminal guard. ( Cowl )

i)

110 mm. dia. Sand cast iron S&S

Each.

16

ii)

75 mm. dia. Sand cast iron S&S .

Each.

3

15

Providing   lead  caulked   joints   to  sand  cast iron / centrifugally  cast  (spun)  iron  pipes  and fittings of diameter

i)

110 mm. dia.

Each.

450

ii)

75 mm. dia.

Each.

75

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

16

Providing  and  fixing  sand cast iron trap of self cleansing  design  with sand cast iron  screwed down or  hinged  grating with or without vent arm complete,  including  cost of cutting and making good the walls and floors

i)

100 mm. inlet and 100 mm. outlet.

Each.

105

ii)

75 mm. inlet and 75 mm. outlet.

Each.

22

17

Cutting   chases   in  brick   masonry  walls  for following  diameter  sand  cast  iron  pipes  and making  good  the  same  with cement concrete1:3:6(1 cement : 3 coarse sand : 6 graded stone aggregate   12.5  mm   nominal  size)  including necessary plaster and pointing in cement mortar1:4 (1cement : 4 coarse sand).

i)

110 mm. dia.

Each.

150

18

Painting  sand  cast  iron/soil, waste  vent pipes and  fitting  with  two  coats  of  synthetic enamel paint  of  any  colour   such  as  chocolate grey or buff etc. over a   coat of   primer(of approved quality) for new work

i)

110 mm. dia.

Meters.

350

ii)

75 mm. dia.

Meters.

70

19

Providing and fixing stainless steel jail (grating) of   approved   quality   with   or without hole for waste pipe for floor.

i)

125 mm dia. C.P. grating (heavy duty)

Each.

105

ii)

150 mm dia. C.P. grating (heavy duty)

Each.

22

iii)

100 mm dia. C.P. grating (heavy duty)

Each.

22

20

Providing & fixing sop disc of best available local quality of approved  make and manufacture as per Engineer in charge or Architect  

Each

100.00

Total carried to summary          Rs.

SECTION - II
WATERSUPPLY

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

1

PIPES (TATA MEDIUM) AND FITTINGS :-

i)

Providing and fixing G.I. Pipes (TATA medium or equivalent)   complete    with   G.I.   Fittings   in pumps, including cutting and making good the walls etc. (internal work).Exposed on wall.

a)

80 mm. dia.

Meters.

9

b)

25 mm. dia. Nominal bore.

Meters.

50

c)

32 mm. dia. Nominal bore.

Meters.

55

d)

40 mm. dia. Nominal bore.

Meters.

130

e)

50 mm. dia. Nominal bore.

Meters.

90

f)

75 mm. dia. Nominal bore.

Meters.

75

ii)

Concealed  pipe including painting with anticorrosive bit mastic  paint, cutting  chases and making good the wall

a)

15 mm. dia. Nominal bore.

Meters.

280

b)

20 mm. dia. Nominal bore.

Meters.

65

c)

25 mm. dia. Nominal bore.

Meters.

115

2

BRASS FITTING :

Providing and fixing gun metal gate valve (with ISI mark) with C.I.  Wheel of approved quality (screwed end).

i)

25 mm. dia. Nominal bore.

Each.

2

ii)

32 mm. dia. Nominal bore.

Each.

3

iii)

40 mm. dia. Nominal bore.

Each.

32

iv)

50 mm. dia. Nominal bore.

Each.

10

v)

63 mm. dia. Nominal bore.

Each.

2

vi)

75 mm. dia. Nominal bore.

Each.

4

3

Providing and   fixing C.I.   Sluice  valves  (with cap) complete with bolts, nuts, rubber insertions etc  (the   tail   pieces   if   required  will be  paid separately)

i)

80 mm. diameter.

a)

 Class I .

Nos.

1

4

Painting G.I.  pipes  (TATA medium or equivalent) and  fittings  with white paint over a ready mixed priming  coat,  both  of  approved quality for new work

i)

15 mm. diameter pipe.

Meters.

280

ii)

20 mm. diameter pipe.

Meters.

65

iii)

25 mm. diameter pipe.

Meters.

165

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

iv)

32 mm. diameter pipe.

Meters.

55

v)

40 mm. diameter pipe.

Meters.

130

vi)

50 mm. diameter pipe.

Meters.

90

vii)

65 mm. diameter pipe.

Meters.

75

viii)

80 mm. diameter pipe.

Meters.

9

5

 Providing  and  fixing  C.P. brass  bib  cock  of approved quality conforming to IS:8931

i)

15 mm. dia. Nominal bore.

Each.

45

6

Providing and fixing  C.P.  brass  angel  valve for cistern,    basin   mixer   and   geyser   points  of approved quality conforming to IS:8931
i)

15 mm. dia. Nominal bore.

Each.

190

7

Providing and  fixing C.P. connector of approved make

Each.

190

8

Providing and fixing shower set comprising of 1 no. C.P. shower rose, 15mm dia. C.P.  Inclined shower arm and 15mm dia.C.P.wall mixer etc complete.

Each.

45

Total carried to summary          Rs.

SECTION - III
DRAINAGE:

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

STONE WARE PIPES AND FITTINGS
1

Providing  laying and jointing glazed  stoneware pipes grade  'A'   with  stiff  mixture  of  cement mortar  in  the  proportion of 1:1 (1 cement:1fine sand) including testing of joints etc. complete.

i)

150 mm. dia.

Meters.

500

ii)

100 mm. dia.

Meters.

100

2

Providing and laying cement concrete 1:5:10  (1 cement   :   5 coarse sand   :   10 graded stone aggregate 40mm nominal size) upto haunches of S.W. / P.V.C. pipes  including  bed  concrete as per standard design

i)

150 mm. dia.

Meters.

500

ii)

100 mm. dia.

Meters.

100

3

Providing  and  fixing  square-mouth  S.W. gully trap grade "A"  complete  with  C.I. grating brick masonry chamber with bricks of class designation 75  and  water  tight  C.I. cover with frame  of  300x300mm size (inside) the weight of cover to be not less than 4.50kg and frame to be not less than 2.70 kg as per standard design.

i)

180 x 150 mm size P type.

a

With class100. Brick.

Each.

20

4

Constructing  brick  masonry  manhole  with 75 class designation brick in cement mortar 1:4  (1 cement : 4 coarse sand)  R.C.C Top  slab with 1:2:4mix (1cement : 2 coarse sand : 4graded stone aggregate 20mm nominal size),foundation concrete1:4:8: mix (1cement :4 coarse sand :8 graded stone aggregate  40mm nominal size) inside   plastering 12mm  thick  with  cement mortar1:3 (1 cement : 3 coarse sand)  finished with  floating  coat  of  neat  cement and making channels in cement concrete 1:2:4 (1 cement :2 coarse sand : 4 graded stone aggregate 20mm nominal  size)  finished  with a  floating  coat  o neat cement complete as per standard design

i)

Inside size   90 x 80cm  and  100cm deep including C.I. cover with frame(light duty) 455 x 610 mm internal  dimensions  total weight of cover and frame to be not less than 38 Kg  (weight of cover23kg  & weight of frame15 kg).

a)

With  class100 bricks.                                  

Each 

2

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

ii)

Inside   size  90   x  80 cm   and 100  cm  deep including  C.I.  cover with  frame (light duty) 455 x  610  mm  internal  dimensions t otal weght of cover  and  frame  to  be  not  less  than  38  kg(weight  of  cover  23 kg  and weight of frame 15 kg).

a)

With brick with class designation 100.

Each.

20

iii)

Inside   size  120  x 90  cm  and  100  cm  deep including  C.I.  Cover  with  frame (medium duty) 500  mm  internal diameter, total weight of cover and  frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg

Each.

8

5

Extra for depth for manholes.

i)

With F.P.S.  brick class designation 100.

Meters.

1

6

Providing and  laying  non-pressure  NP2 class(light  duty)  R.C.C.  pipes  with  collars  jointed with   stiff   mixture   of   cement  mortar  in  the proportion   of  1 : 2   (1 cement  :  2  fine  sand) including testing of joints etc. complete

i

25mm dia R.C.C pipe

Meters

250

7

Providing  and  fixing in  position precast R.C.C. manhole  cover and frame of required shape and approved quality

i)

Circular shape 560 mm internal diameters.

Each.

30

8

Construction  of   200   users  septic  tank  with chlorinating chamber  complete  as per drawing including  earthwork,  brickwork, concrete work, R.C.C. slab, plaster with neat finish,150 mm dia stone ware Tee etc all complete

Each.

3

9

Making soak pit 2.5 m diameter 3.0 meter deep with  45 x 45  cm  dry  brick  honey  comb shaft with  brick  of  class  designation  75  and S.W. drain   pipe   100   mm.  diameter,  1.8  m  long complete as per standard design

               I)

With F.P.S.  Bricks.

Each.

3

10

Constructing  brick masonry open surface drain with  brick  of  class  designation  75  in cement mortar 1:4 (1cement : 4 f fine  sand) including earth excavation, 10 cm thick bed concrete 1 :5 to (1 cement : 5 fine sand : 10  graded  stone aggregate 40mm nominal size) and 25mm thick cement concrete 1:2:4(1 cement :2coarse sand : 4 graded  stone  aggregate 12.5mm nominal size)  for  filling  haunches including 12mm cement plaster 1:4. (1cement :4coarse sand) with a floating coat neat cement inside the drain, its top and exposed 

 Sl.NO

DESCRIPTION

UNIT

QUANTITY

RATE Rs.

AMOUNT Rs.

10

side including disposal of surplus earth complete as per standard design15   cm   drain   20   cm   average   depth   with

i)

F.P.S. brick.

25   cm   drain   30   cm   average   depth   with
Meters.

150

ii)

F.P.S. brick.

Providing  and fixing  P.V.C. waste pipe for sink
Meters.

420

11

or wash  basin  including  P.V.C. waste fittings complete. Semi rigid pipe

i)

32 mm. dia.

Each.

75

Total carried to summary          Rs.

Approved List of Manufacturers/ Brand for Civil Works

Approved  List to be used in works shall conform to Indian Standards Specification as published from time to time (and in the absence thereof as approved by Engineer-in –charge) in general the mode of measurement of the Civil engineering works shall be guided by I.S.I code No-1964(Revised) for Indian standard Method of measurement of building work.

Sl. No

DESCRIPTION

I.S CODE

APPROVED MAKE

1.
Cement : Ordinary port land cement 43 grade
269:1967
OCL

2.

Steel: a) mild steel:
432(Part1)1982

TATA/SAIL

b) High strength deformed steel:                       

1786:1985

TATA/SAIL

3.

Sand:

383:1963or 515

(Revised)

4.

Course Aggregate

383

5.

Lime:

792:1973

6.

Brick: Common brunt clay building bricks

1077:1992

(Fifth Revision)

7.

Light Gauge structural steel section

811:1987

8.

Collapsible gate:

10521:1983

9.

Marble: Block, slab, and tile
1130:1969

10.

Ceramic tile/ Glazed tile:

777:1970

Spartek/Kajaria/

Orient/Somany

11.

Vitrified porcelain tile                              

Granamite/

diomoite/Kajaria (kerogress)

12

Viny flooring

Tuskar/poly floor

Armstrong

13

Aluminum section: For door window 

1984:1961

Indal/Beco/OEL

14

Wooden Flush door:

2202(part2):1983

Greenply/Centu/

Mayer

15

Cement based paint:

Snowcemplus/

Durocem

16

Acrylic Emulsion

ICI/ Berger/Asian Paints

17

Deistemper

ICI/ Berger/Asian Paints

18

Synthetic Enamel

ICI/ Berger/Asian Paints

19

Water proofing Admixture

2645 and 9103

SIKA /Forsrock/ Laticrete

20

Glass/Glazing glass

Modi guard/saintgobain

Specification of Materials.

1

Sanitary Fitting : Hindware/ParryWare

2

CI pipe & fitting: IS 3989 of Jayaswals /NECO Ltd /Similar approved.

3

C.P fittings : Jaquar/ESSESS/GEM brand

4

G.I. Pipes: Tata make (medium quality)

5

G.i.  Fittings:'R'/HB/KS brand with ISI marked

6

G.M Valves :Leader/zoloto brand

7

SW pipes: Sonall/Hind brand
8

CI Cover& frame: Local brand good quality

9

Paint : Jhonson & Nicolson/ICI brand/Asian Paint

10

Kitchen Sink: Nirall or similar approved.

11

Mirror: Golden flsh or similar approved.

12

Sluice Valve: Upadhya or similar approved.

Specification for Materials, Measurement & Workmanship as per CPWD & ISI



