[image: image1.emf][image: image2.png]<
-
L
4
14
-
®
14







NATIONAL INSTITUTE OF TECHNOLOGY

ROURKELA-769008, ORISSA
                  (Tender Notice No.NITR/PW/08/1272, dated 31.01.08

              Sealed tenders are invited from reputed Luminaries manufacturers having substantial share in the market for a turn key project involving design, engineering, manufacture and supply of all equipments, erection, commissioning and testing of the  system as a whole including all related civil, structural and electrical work for illumination of stadium measuring 180M X 220M..

 Last date for submission   22.02.08. up to 10.00 AM.

Details of the tender specifications with all necessary details are available

  in our website  at http://www.nitrkl.ac.in/ tender.asp. 










(REGISTRAR)









         NIT, ROURKELA









    Fax No : 06612472926









     Ph.No :06612476773

                             NATIONAL INSTITUTE OF TECHNOLOGY




             ROURKELA-769008, ORISSA  

                         (Tender Notice No. – NITR/PW/08/1272, dated 31.01.08)

Name  of the work:-  ILLUMINATION OF STADIUM

SPECIFICATIONS ALONG WITH THE TERMS AND CONDITIONS 

· Sealed tenders are invited from reputed LUMINAIRES manufacturers having substantial share in the market for a turn key project involving design,                      engineering, manufacture and supply of all equipments, erection, commissioning and testing of the system as a whole including all related  civil, structural and electrical work for illumination of elliptical shaped stadium measuring 180 M X 220 M  enclosing  two football grounds.

                    .

· Equipment and facilities provided for the work shall include, but not be                   limited, to the following major items.

I. The illumination level required in  the stadium  is 75 LUX minimum and 135 LUX  maximum.

II. Required no. of Luminaires ( IP 65 minimum).

III. Suitable Mast structures

IV. Cabling from the incomer switch and to all mast.

V. Control gears and accessories.

· All documents supporting the credential for assessment are to be submitted eg. 

I. Performance certificate 

II. ii) Nos. of similar/ higher  capacity systems supplied in last three years with the list of customers, their address & phone numbers of contact person.

III. Make and Specification of major items 

IV. Income tax clearance certificate for the last financial  year should be submitted with the tender  paper.

v. The Manufacturer shall appoint contractors having  E.P.F and C.L.L registration. 

· Prequalification requirement for the tenderers

                   Bidders must have supplied similar system including mast, luminaries 

                   and commissioning of a value total  Rs 3 crores in last three years.

· Sealed tenders in three parts should be submitted by the Interested bidders to the REGISTRAR, NIT Rourkela-769008

 1) The tender must be accompanied by the Earnest Money of                              Rs 35,000.00(Rupees Thirty Five  Thousand only) in form of BD/BC/DD and  should be  in the name of  Director , NIT Rourkela which will be returned to the unsuccessful bidders after finalization of the tender.

2)  All credentials and related technical and commercial offer in second envelope clearly super scribing the tender number reference on the envelope.

3)  Details of equipment supplied and financial bid item wise and  total amount  of the project mentioning clearly supply and erection & commissioning separately.

4) All the necessary materials required for this job will be arranged by the  Manufacturer of good quality as per specification and direction of Prof. In charge Electrical Construction.

5)  Manufacture should clearly mentioned the tax portion along with price bid.

6) Period of guarantee/warranty to be offered by the bidder, wherever applicable.
7) LIQUIDATED DAMAGE:-Incase the bidder fails to complete the work within the stipulated time period  unless such failure is due to force majeure or due to the Employer’s fault, you shall   pay to the Employer by way of compensation for delay and not as penalty, a sum up to a  maximum 10% of the contract value at the discretion of NIT, Rourkela. The exact value of the delay will be worked out by the Institute following its procedure and it shall be binding  on the bidder.   
8) All the three envelopes should have tender no. super scribed on                     the cover and all three should be put in a bigger and single envelope, clearly super scribing the tender no and the due date  and should be address to THE REGISTRAR, NIT ROURKELA  

· The tender must be submitted by 10.00 A.M on 22.02.08
· Pre Bid meeting will be held at     11.00 A.M on 22.02.08   

· Revised Financial bid to be submitted by 3.30 PM on 22.02.08 and offer will be opened on the same date at 4.00 PM. 

· In case the day being a holiday/unscheduled closing day, the                   Same will be received up to & will be opened on next working day.  

· Any Clarification may be discussed with Professor in charge, Electrical construction. at  Ph - 06612462414, Fax- 06612472926, E-mail- jksatapathy@nitrkl.ac.in
· The institute reserves the right to reject any or all offers without assigning any reason. Canvassing in any form will lead to disqualification. 

 









(REGISTRAR)

Ph.No. 0661-2476773
                                                                  

Fax No. 0661-2462022
  















Tender Notice No.NITR/PW/08/1272 , dated 31.01.08


 (Tender for illumination of stadium )


Sealed tenders are invited in three parts (1st Part: EMD, 2nd Part : Techno Commercial bids including prequalification requirements of tenders and 3rd part : Price bid) in separate sealed envelopes from leading manufactures who are financially sound and done similar type of the job in the state or out side of the state may be  apply with credential information/Work order/Testimonials in sealed envelopes addressed to the Registrar, NIT, Rourkela superscribing tender notice No and due date  in bold letter on the top of the envelope. The last date of receipt of quotation by 10.00 A.M. on 22.02.08. The Pre-bid conference will be held on the same date at 11.00 A.M in the presence of tenderers or their authorized persons.


Name of the Work�
Date of completion �
Estimated Cost�
E.M.D�
�
illumination of stadium�
04 months  from the date of award�
Rs.40 Lakhs�
35,000/-�
�
 Details terms and  conditions along with the formats  are available in our website http://� HYPERLINK "http://www.nitrkl.ac" ��www.nitrkl.ac�/ tender.asp.  The Institute reserves the right to cancel /reject any or all quotations bids without assigning any reason thereof. 


       Sd/-


Ph.No. 0661-2476773	                                                                  REGISTRAR


Fax No. 0661-2462022	  








�





NATIONAL INSTITUTE OF TECHNOLOGY


ROURKELA-769008 ( ORISSA )








PAGE  
2

